🧠 AI-Powered Follicle Monitoring and Analysis

Technical Documentation

- Introduction

1.1 Problem Statement:

- Manual measurement of ovarian follicles in ultrasound scans is time-consuming, prone to error, and subjective.

- The goal of this project is to automate follicle segmentation, measurement, and maturity analysis using deep learning — improving accuracy and assisting clinicians in IVF treatment planning.

  - Objective:

- To develop a deep learning-based solution capable of detecting, segmenting, and measuring ovarian follicles from ultrasound video

with high precision and clinical reliability.

  - Business Objective:

- Automate follicle detection and size measurement (in mm).

- Minimize human error and improve diagnostic consistency.

- Real-time follicle monitoring support for IVF clinicians.

- System Requirements:

2.1 Hardware Requirements:

| Component | Minimum Specification |
| --- | --- |
| Processor | Intel i5 or higher |
| RAM | 8 GB/16GB |
| Storage | 20 GB free space |
| GPU | T4 |

2.2 Software Requirements:

| Component | Specification |
| --- | --- |
| OS | Windows 10/11 |
| Programming Language | Python 3.10 |
| Frameworks | Ultralytics YOLOv8, OpenCV, Pandas, Streamlit |
| Libraries | Torch, NumPy, Pillow, ReportLab |
| Deployment Tool | Streamlit |
| IDE | Google Colab / Spyder |

3. Data Collection and Understanding:

3.1 Dataset Source:

- Ultrasound scan videos were collected from YouTube medical repositories.

- Frames were extracted, annotated, and used to train YOLOv8m-seg.

3.2 Data Annotation:

- Annotated using Roboflow with the free polygon tool for precise follicle boundaries.

- Classes: Single class – Follicle.

- Splits: Train 70%, Validation 20%, Test 10%.

- Annotation tool used: Free polygon segmentation.

3.3 Dataset Overview

| Split | Images | percentage |
| --- | --- | --- |
| Train | 287 | 70% |
| Validation | 82 | 20% |
| Test | 41 | 10% |

4. Data Information & Dictionary:

5. Exploratory Data Analysis (EDA):

- EDA was conducted on annotated datasets to understand the size distribution and variation of follicles.

- histogram of follicle area shows most follicles between 15–25 mm.

- Mask overlays confirm accurate polygon boundaries.

- Checked for missing or corrupted frames and replaced them.

- Key Observation: Follicles appear in varying intensity; boundary contrast is low in some cases — demanding robust augmentation.

6. Data Preprocessing:

Steps performed before model training:

- Frame Extraction – Converted all ultrasound videos to image frames.

- Annotation Validation – Verified each mask polygon in Roboflow.

- Normalization – Scaled pixel values to 0–1.

- Resizing – All images resized to 640×640.

- Augmentation – Applied:

  - Mosaic

  - HSV adjustments

  - Shear

  - Translate

  - Perspective shift

- Pixel Calibration – Average calibration determined as 6.10 px/mm using scale line detection.

7. Model Building:

- Model Used: YOLOv8m-seg (Ultralytics)

- Objective: Perform instance segmentation of ovarian follicles from ultrasound video frames.

Training Parameters

- Model Type: YOLOv8m-seg

- Task: Instance Segmentation

- Transfer Learning: From COCO pre-trained weights

- Dataset: /content/Follicle_instance-Segmentation-2

- Image Size: 640x640

- Epochs: 60

- Batch size: 16

- Optimizer: AdamW

- Augmentations: Mosaic, HSV, Shear, Translate, Scale, Perspective

- Hardware: Tesla T4 GPU

- Framework: Ultralytics YOLOv8

Outcome:

- Model successfully learned to identify follicle boundaries and return mask regions for mm-based measurement.

- Model Evaluation & Accuracy

| Metric | Box | Mask |
| --- | --- | --- |
| Precision | 0.898 | 0.870 |
| Recall | 0.902 | 0.914 |
| mAP@50 | 0.951 | 0.947 |
| mAP@50-95 | 0.727 | 0.736 |

Interpretation:

- Detection accuracy (mAP@50) = 95.1%

- Fine-grained segmentation accuracy (mAP@50–95) = 73.6%

- Balanced precision and recall show model generalization and reliability.

9. Model Comparison:

| Metric | Baseline YOLOv8m | Tuned YOLOv8m(Final) | Improvement |
| --- | --- | --- | --- |
| Box Precision(p) | 0.888 | 0.898 | +1.1% |
| Box Recall (R) | 0.931 | 0.902 | -2.9% |
| Box mAP@50 | 0.948 | 0.951 | +0.3% |
| Box mAP@50-95 | 0.720 | 0.727 | +0.7% |
| Mask Precision | 0.882 | 0.870 | -1.2% |
| Mask Recall | 0.925 | 0.914 | -1.1% |
| Mask mAP@50 | 0.944 | 0.947 | +0.3% |
| Mask mAP@50-95 | 0.733 | 0.736 | +0.3% |

Interpretation from Model Accuracy Comparison:

- The tuned YOLOv8m-seg achieved higher accuracy and faster convergence.

- mAP@50 improved to 0.951 (95%), indicating excellent object detection accuracy.

- Fine-grained segmentation (mAP@50–95 = 0.736) ensures precise follicle boundary detection.

- The model generalizes well across different ultrasound sources.

10. Model Deployment Strategy:

Platform: Streamlit Local App
Environment: follicleenv (Python 3.10)

Key Features:

- Upload ultrasound video (.mp4)

- Real-time segmentation & follicle measurement (mm)

- Output: Annotated video + CSV report

- One-click .bat launcher for clinicians

- PDF export using ReportLab

Pipeline:

- Upload Video → Frame Processing

- YOLOv8m Inference → Mask Extraction

- Contour Drawing → Diameter Calculation

- Save Outputs (Video + CSV)

Output Video:

- Contours with green follicle boundaries and mm labels.

11. Challenges:

- Low-contrast ultrasound frames leading to ambiguous follicle boundaries.

- High GPU dependency for fast inference.

- Variable lighting and scaling across different videos.

- Handling overlapping follicles during segmentation.

- Calibration error propagation in mm conversion.

12. Future Scope:

- Real-time video tracking using GPU acceleration.

- 3D follicle volume estimation from multi-angle scans.

- Integration with hospital EMR for automated storage.

- Ovulation prediction using AI-based follicle growth modelling.

13. Results Summary:

| Aspect | Result |
| --- | --- |
| Model Type | YOLOv8m-seg |
| Detection Accuracy(mAP@50) | 95.1% |
| Segmentation Accuracy(mAP@50-95) | 73.6% |
| Processing Speed | 15.9ms/frame (GPU) |
| Calibration | 6.10 px/mm |
| Output | Annotated Video + CSV |

14. Conclusion:

- The YOLOv8m-seg-based AI-powered follicle monitoring system achieved high precision (95%) and robust segmentation (73%) across ultrasound data.

- It effectively detects and measures follicle size in mm, enabling clinicians to analyse ovarian follicle development efficiently.

- This solution lays the foundation for AI-driven follicular growth tracking and IVF treatment support systems.